## Metadata
index # | File Name.csv | Point person | Dataset | Primary location | URL | Start Date mm/dd/yy | End Date | Data Type | Original date - time format | Sensor Types | Sample Frequency (#/day) | T | S | meas pH | Other carb | O2 | Chl | HAB | Nutr. | Depth | Latitude | Longitude | Description | Date last updated | comments on QAQC plots | NPS? | Previously published? (Y/N/partial) | Data OK as is? (Y/N) (if yes, we won't QA/QC further- trust author) | Continuous or dicrete samples? | Lab, field, or no calibration? | Vint or Vext available? (No, Vint, Vext, both, unknown) | Bottle data available? (Y/N) | Notes
1 | 1_final_SBH.csv | EK | Santa Barbara Sea Surface Temp | Santa Barbara | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=32&revision=newest | 1955-01-01 | 2018-12-31 | hand | hmm (PST) | NA | 1 | 1 | NA | NA | NA | NA | NA | NA | NA | 0 | 34.4049 | -119.6922 | Daily, manual measurements of morning SST taken from the SB Harbor Patrol boat dock. Temps typically taken between 0500 and 0600. 1995-2012, data measured in whole degree F and converted to C. | 2020-01-26 | ready to flag on friday meeting
2 | 2_final_NDBC_BDXC1.csv | EK | NBDC_BDXC1 | Bodega Head | https://www.ndbc.noaa.gov/historical_data.shtml | 2015-11-01 | 2018-12-31 | sensor | hh, mm |  | 240 | 1 | 1 | NA | NA | NA | 1 | NA | NA | 0 | 38.317 | -123.071 | QC'ed data from a moored NOAA bouy off Bodega Head. Unpublished data likely available for some of 2019. | 2020-01-26 | ready to flag on friday meeting
3 | 3_final_Alegria_sensor.csv | EK | Algeria LTER Data | Santa Barbara | https://portal.edirepository.org/nis/metadataviewer?packageid=knb-lter-sbc.6001.2 | 2011-06-11 | 2014-01-07 | sensor | 2011-06-21T09:40:00Z | SeaFET SBE 37 | 72 | 1 | 1 | 1 | NA | NA | NA | NA | NA | 3 | 34.4617 | -120.29 | Moored SeaFET and SBE37 data | 2020-04-03 |  |  | Y |  | Continuous |  | Both | Y
4 |  | EK | CenCOOS Humbolt Shore Station | Humboldt Bay | https://data.cencoos.org/#metadata/20363/station/data | 2013-02-14 | 2019-08-28 | sensor | 2013-02-14T17:15:00Z | YSI Sonde 6600 V2 | 96 | 1 | 1 | 1 | NA | 1 | NA | NA | NA | 2 | 40.7775 | -124.1965 | Data station located on the Chevron Dock in Humboldt maintained by the university there. Station includes a YSI Sonde 6000 and sensors to measure PAR and solar radiation. | 2019-08-28
5 | 5_final_WCOA16.csv | EK | NOAA_WCOA16 Cruise Data | West Coast | https://www.nodc.noaa.gov/archive/arc0115/0169412/1.1/data/0-data/ | 2016-05-08 | 2016-06-06 | bottle | 4:45 | SBE 9+ (CTD) |  | 1 | 1 | 1 | 1 | 1 | 1 | NA | 1 |  |  |  | Bottle data from the 2016 west coast NOAA cruise. Nutrients and OA. | 2020-01-26 | ready to flag on friday meeting | 1
6 | 6_final_NDBC_46025.csv | EK | NDBC_46025 | Channel Islands | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2007-01-01 | 2009-12-31 | sensor | YY, MM, DD, hh, mm |  | 24 | 1 | 1 | NA | NA | NA | NA | NA | NA | 1 | 33.763 | -119.053 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
7 | 7_final_NDBC_46217.csv | EK | NDBC_46217 | Channel Islands | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2004-09-08 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 48 | 1 | NA | NA | NA | NA | NA | NA | NA | 0.46 | 34.167 | -119.435 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
8 | 8_final_NDBC_46053.csv | EK | NDBC_46053 | Channel Islands | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2007-03-21 | 2008-09-23 | sensor | YY, MM, DD, hh, mm |  | 24 | 1 | 1 | NA | NA | NA | NA | NA | NA | 1 | 34.252 | -119.853 | QC'ed data from moored Scripps oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
9 | 9_final_NDBC_TDPC1.csv | EK | NDBC_TDPC1 | Eureka | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2007-07-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 24 | 1 | NA | NA | NA | 1 | 1 | NA | NA | 3 | 41.055 | -124.147 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
10 | 10_final_NDBC_FPXC1.csv | EK | NDBC_FPXC1 | San Francisco | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2015-11-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 240 | 1 | 1 | NA | NA | NA | NA | NA | NA | 0 | 37.807 | -122.466 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
11 | 11_final_NDBC_46221.csv | EK | NDBC_46221 | Santa Monica Bay | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2004-09-08 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 48 | 1 | NA | NA | NA | NA | NA | NA | NA | 0.46 | 33.855 | -118.634 | QC'ed data from moored Scripps oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
12 | 12_final_NDBC_46235.csv | EK | NDBC_46235 | Imperial Beach | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2007-05-15 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 48 | 1 | NA | NA | NA | NA | NA | NA | NA | 0.46 | 32.57 | -117.169 | QC'ed data from moored Scripps oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
13 | 13_final_NDBC_46237.csv | EK | NDBC_46237 | San Francisco | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2007-07-25 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 48 | 1 | NA | NA | NA | NA | NA | NA | NA | 0.46 | 37.786 | -122.635 | QC'ed data from moored Scripps oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
14 | 14_final_NDBC_46251.csv | EK | NDBC_46251 | Santa Cruz Basin | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2013-10-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 48 | 1 | NA | NA | NA | NA | NA | NA | NA | 0.46 | 33.761 | -119.559 | QC'ed data from moored Scripps oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
15 | 15_final_NDBC_ICAC1.csv | EK | NDBC_ICAC1 | Santa Monica | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2010-01-11 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 240 | 1 | NA | NA | NA | NA | NA | NA | NA | 10.3 | 34.008 | -118.5 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
16 | 16_final_NDBC_PRYC1.csv | EK | NDBC_PRYC1 | Point Reyes | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2005-04-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 240 | 1 | NA | NA | NA | NA | NA | NA | NA | 1.5 | 37.996 | -122.977 | QC'ed data from moored NOAA oceanographic buoy. | 2020-01-26 | ready to flag on friday meeting | 1
17 | 17_final_NDBC_HBXC1.csv | EK | NDBC_HBXC1 | Humboldt Bay | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2015-11-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm | YSI Sonde 6000 | 24 | 1 | 1 | 1 | NA | NA | 1 | NA | NA | 0 | 40.777 | -124.197 | Data links to CenCOOS website, which is the same as dataset 4. This set has fewer measurements, however. Not sure what's up. | 2020-01-26 | ready to flag on friday meeting | 1
18 | 18_final_NDBC_MBXC1.csv | EK | NDBC_MBXC1 | Morro Bay | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2015-11-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 96 | 1 | 1 | NA | NA | 1 | NA | NA | NA | 0 | 35.37 | -120.858 | CA Polytechnic State U buoy. | 2019-09-23 | ready to flag on friday meeting
19 | 19_final_NDBC_MLSC1.csv | EK | NDBC_MLSC1 | Moss Landing | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2009-08-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm | DuraFET III Oxyguard 840 | 96 | 1 | 1 | 1 | NA | 1 | 1 | NA | NA | 14 | 36.802 | -121.791 | Conflicting info about instruments (http://pubdata.mlml.calstate.edu/industrial/index.php) vs (http://pubdata.mlml.calstate.edu/seawater/index.php). ALSO intake is at 14 m, O2 conversion assumed 0. | 2020-01-26 | missing do_umolskg and pH
20 | 20_final_NDBC_MTYC1.csv | EK | NBDC_MTYC1 | Monterrey | https://www.ndbc.noaa.gov/historical_data.shtml#ocean | 2015-11-01 | 2018-12-31 | sensor | YY, MM, DD, hh, mm |  | 96 | 1 | 1 | 1 | NA | 1 | 1 | NA | NA | 2.1 | 36.605 | -121.889 | CenCOOS buoy. Not sure what they're using to generate their pH measurements - maybe a YSI Sonde? | 2020-01-26 | ready to flag on friday meeting
21 | 21_final_WCOA13.csv | EK | NOAA_WCOA13 Cruise Data |  | https://accession.nodc.noaa.gov/0132082/data/0-data/ | 2013-08-03 | 2013-08-29 | bottle | date: 130805 time: 215 | SBE 3+ (CTD) SBE 43 (DO) |  | 1 | 1 | 1 | 1 | 1 | 1 | NA | 1 |  |  |  | Bottle data from the 2013 west coast NOAA cruise. Nutrients and OA. Cruise split into two legs done by different ships (same scientists). | 2020-01-26 | ready to flag on friday meeting | 1
22 | 22_final_WCOA12.csv | EK | NOAA_WCOA12 Cruise Data |  | https://www.nodc.noaa.gov/archive/arc0101/0157445/1.1/data/0-data/ | 2012-09-04 | 2012-09-17 | bottle | date: 09/08/12 time: 22:47:15 | SBE 9+ (CTD) SBE 43 (DO) |  | 1 | 1 | NA | 1 | 1 | 1 | NA | 1 |  |  |  | Bottle data from the 2012 West Coast NOAA cruise. Nutrients and OA. Bottle oxygen data is also available (as opposed to the CTD DO). | 2020-01-26 | ready to flag on friday meeting | 1
23 | 23_final_WCOA11.csv | EK | NOAA_WCOA11 Cruise Data |  | https://www.nodc.noaa.gov/archive/arc0072/0123467/2.2/data/0-data/ | 2011-08-12 | 2011-08-30 | bottle | date: 08/12/11 time: 22:47:15 | SBE 9+ (CTD) SBE 43 (DO) |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 |  |  |  | Bottle data from the 2011 West Coast NOAA cruise. Nutrients and OA. | 2020-01-26 | ready to flag on friday meeting | 1
24 | 24_final_WCOA07.csv | EK | NOAA_WCOA07 Cruise Data |  | https://accession.nodc.noaa.gov/0083685/data/0-data/ | 2007-05-11 | 2007-06-14 | bottle | date: 05/11/07 time: 22:47:15 | SBE 9+ (CTD) SBE 43 (DO) |  | 1 | 1 | NA | 1 | 1 | 1 | NA | 1 |  |  |  | Bottle data from the 2007 West Coast NOAA cruise. Nutrients and OA. | 2020-01-26 | ready to flag on friday meeting | 1
25 | 25_final_CalCOFI.csv | EK | CalCOFI Cruise Data | California | https://calcofi.org/ccdata/database.html | 1949-03-01 | 2019-02-09 | bottle | date: 03/01/1949 time: 12/30/1899 09:30:00 |  |  | 1 | 1 | NA | 1 | 1 | 1 | NA | 1 |  |  |  | CalCOFI cruise data. Only ~50 pHs for the entire set and not many TA and DIC measurements either. Could not pull the NH4 data since they measured NH3 and you can't convert without pH. | 2020-01-26 | ready to flag on friday meeting | 1
26 | 26_final_ACCESS.csv | EK | ACCESS_2013-2015 | California |  | 2013 | 2015 | bottle |  |  |  | 1 | 1 | 1 | 1 | 1 | NA | NA | NA |  |  |  | Figured out the station/data confusion. Bottle samples from select ACCESS cruises. 71 samples total. Published data from Kate Davis. | 2020-01-26 | ready to flag on friday meeting | 1
27 | 27_final_coastal_OA.csv | MZ | CA OA | West Coast |  | 2010-09-07 | 2015-05-07 | bottle | date: 5/7/15 time: 13:30; 1:30pm; 1pm |  |  | 1 | 1 | 1 | 1 | 1 | NA | NA | NA |  |  |  | Tessa's Coastal Ocean Acidification dataset. | 2020-02-03 | ready to flag on friday meeting
28 | 28_final_BMLWeeklySamples.csv | SM | BML Weekly Samples | BML | NA | 2010-09-02 | 2020-03-13 | bottle | 9/2/10 21:00 (UTC) | NA | 0.14286 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | 0 | 38.3163 | -123.072 | Weekly bottle samples from BML (Horseshoe Cove) - ongoing project | 2020-04-27 | ready to flag on friday meeting
29 |  | HP | Monterey Bay Aquarium Seawater Intake | Monterey Bay | http://erddap.cencoos.org/erddap/tabledap/org_montereybayaquarium_intake_1.html | 1995-09-22 | continuous, pulled by HP on 4/17/20 | sensor | UTC | See Booth et al 2012 in folder | 286 | 1 | 1 | 1 | NA | 1 | NA | NA | NA |  | 36.6186 | -121.9015 | Monterey Bay Aquarium Seawater intake | 2020-04-17
30 | 30_final_LTER_Arroyo_Quemado.csv | AMR | Arroyo Quemado LTER | Arroyo Quemado | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=6002&revision=newest | 2012-07-30 | 2017-03-10 | sensor | UTC (2012-07-30 06:40:00) | SeaFet | 72 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | 4 | 34.465 | -120.1196 | Calibrated pH (Total scale, SeaFET sensor) an disoolved oxygen (miniDOT)data were collected from Arroyo Quemado Reef in the Santa Barbara Channel (site ID: ARQ). pH data are accompanied by in situ temperature and associated carbonate chemistry parameters. The SeaFET instrument is located about 4 meters from the surface, with other moored instruments. Associated carbonate chemistry parameters were calculated with the CO2calc programs from USGS, and include: partial pressure and fugosity of CO2, concentrations of bicarbonate, carbonate and hyrdroxide ion, Omega (saturation state) of calcite and aragonite. Dissolved oxygen sensors (miniDOT, PME) were added in 2014, and are mounted near the ocean surface and near the seafloor, and also report temperature. All data have been interpolated to a 20 minute time interval for compatibility with other SBC LTER moored instrument data. Data coverage is 2012-07-30 to 2017-03-10. | 2020-04-22 | ready to flag on friday meeting |  | y | n | continuous | field | Vint | Y | requires citation_ Santa Barbara Coastal LTER, G.E. Hofmann, and L. Washburn. 2018. SBC LTER: Ocean: Time-series: Mid-water SeaFET pH and CO2 system chemistry with surface and bottom Dissolved Oxygen at Arroyo Quemado Reef(ARQ), ongoing since 2012-07-30 ver 3. Environmental Data Initiative. https://doi.org/10.6073/pasta/c9ba145fbce497008d1f6db809b70aac. Accessed 2020-04-24.
31 | 31_final_LTER_Mohawk_Reef.csv | AMR | Mohawk Reef LTER | Mohawk Reef | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=6003&revision=newest | 2012-01-11 | 2017-12-19 | sensor | UTC (2012-07-30 06:40:00) | SeaFet | 72 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | 4 | 34.3932 | -119.7301 | Calibrated pH (Total scale, SeaFET sensor) an disoolved oxygen (miniDOT)data were collected from Mohawk Reef in the Santa Barbara Channel (site ID: MKO). pH data are accompanied by in situ temperature and associated carbonate chemistry parameters. The SeaFET instrument is located about 4 meters from the surface, with other moored instruments. Associated carbonate chemistry parameters were calculated with the CO2calc programs from USGS, and include: partial pressure and fugosity of CO2, concentrations of bicarbonate, carbonate and hyrdroxide ion, Omega (saturation state) of calcite and aragonite. Dissolved oxygen sensors (miniDOT, PME) were added in 2014, and are mounted near the ocean surface and near the seafloor, and also report temperature. All data have been interpolated to a 20 minute time interval for compatibility with other SBC LTER moored instrument data. Data coverage is 2012-01-11 to 2017-12-19 | 2020-04-23 | ready to flag on friday meeting |  | y | n | continuous | field | Vint | Y | requires citation: Santa Barbara Coastal LTER, G.E. Hofmann, and L. Washburn. 2018. SBC LTER: Ocean: Time-series: Mid-water SeaFET pH and CO2 system chemistry with surface and bottom Dissolved Oxygen at Mohawk Reef(MKO), ongoing since 2012-01-11 ver 3. Environmental Data Initiative. https://doi.org/10.6073/pasta/7d5f084a03ea306540f357812e3a0e27. Accessed 2020-04-24.
32 | 32_final_LTER_Santa_Barbara_Harbor_Stearns_Wharf.csv | AMR | Santa Barbara Harbor/Stearns Wharf LTER | Santa Barbara Harbor/Stearns Wharf | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=6004&revision=newest | 2012-09-15 | 2016-09-14 | sensor | UTC (2012-07-30 06:40:00) | SeaFet | 72 | 1 | 1 | 1 | 1 | 1 | NA | NA | NA | 4 | 34.4093 | -119.6849 | Calibrated pH (Total scale, SeaFET sensor) an disoolved oxygen (miniDOT)data were collected from Santa Barbara Harbor/Stearns Wharf in the Santa Barbara Channel (site ID: SBH). pH data are accompanied by in situ temperature and associated carbonate chemistry parameters. The SeaFET instrument is located about 4 meters from the surface, with other moored instruments. Associated carbonate chemistry parameters were calculated with the CO2calc programs from USGS, and include: partial pressure and fugosity of CO2, concentrations of bicarbonate, carbonate and hyrdroxide ion, Omega (saturation state) of calcite and aragonite. Dissolved oxygen sensors (miniDOT, PME) were added in 2014, and are mounted near the ocean surface and near the seafloor, and also report temperature. All data have been interpolated to a 20 minute time interval for compatibility with other SBC LTER moored instrument data. Data coverage is 2012-09-15 to 2016-09-14 | 2020-04-23 | ready to flag on friday meeting |  | y | n | continuous | field | Vint | Y | requires citation:Santa Barbara Coastal LTER, G.E. Hofmann, and L. Washburn. 2018. SBC LTER: Ocean: Time-series: Mid-water SeaFET pH and CO2 system chemistry with surface and bottom Dissolved Oxygen at Santa Barbara Harbor/Stearns Wharf(SBH), ongoing since 2012-09-15 ver 3. Environmental Data Initiative. https://doi.org/10.6073/pasta/d95118a18b7124501a85962e8a8147b4. Accessed 2020-04-24.

## Datasets wishlist
* the excel file from Tessa "Data brainstorming list and progress.xlsx" is already incorporated in this list
Dataset index # (if applicable) | Dataset | Type of dataset | Location | Link | Point Person | Priority | Date Range
29 | Monterey Bay Aquarium Intake |  |  | https://catalog.data.gov/dataset/monterey-bay-aquarium-seawater-intake | Hannah
| CeNCOOS | multiple datasets |  | https://www.cencoos.org/ | Carina
| CeNCOOS: MBARI moorings (M1, OA1, OA2) | pH, pCO2, temperature | Monterey, CA | Data available upon request from MBARI/Francisco Chavez | Carina | high | Variable, over 5-10 years. Starts in 2011
| CeNCOOS: Santa Cruz Ocean Observing Platform, SCOOP | pH, temp, DO, salinity | Santa Cruz, CA | https://www.cencoos.org/data/shore/santacruz | Carina
CeNCOOS:
| Ocean Networks Canada | Ferry - CO2, temp, salinity, O2 |  | https://data.oceannetworks.ca/PlottingUtility?TREETYPE=26&LOCATION=171&DEVICECATEGORY=4&SENSOR=21006&DATEFROM=15-Feb-2017%2000:00:00&DATETO=03-Apr-2020%2022:49:54 | Meghan |  | 2017 - 2019
|  | Barkley Canyon - CO2 |  | https://data.oceannetworks.ca/PlottingUtility?TREETYPE=26&LOCATION=49&DEVICECATEGORY=4&SENSOR=7964&DATEFROM=01-Jan-2001%2000:00:00&DATETO=03-Apr-2020%2022:49:42 | Meghan |  | 2012 - 2018
|  | Baynes Sound - CO2 |  |  | Meghan |  | 2019
|  | Burrard Inlet - CO2 |  |  | Meghan |  | 2019
|  | Saanich Inlet - CO2 |  |  | Meghan |  | 2011 - 2012
| BMR Monthly Sampling | bottle samples - temp, sal, O2, pH, alk |  |  | Sarah
| Tomales Line Monthly Sampling | bottle samples - temp, sal, O2, pH, alk |  |  | Sarah
3 | Santa Barbara Coastal LTER data https://sbclter.msi.ucsb.edu/data/ | Algeria Mooring SeaFet |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=6001&revision=newest | Esther
| Santa Barbara Coastal LTER data https://sbclter.msi.ucsb.edu/data/ | Anacapa, Santa cruz, San Miguel Islands SeaFet |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=93&revision=newest | Aurora
| Santa Barbara Coastal LTER data https://sbclter.msi.ucsb.edu/data/ | bottles for SeaFet calibration of above |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=75&revision=newest | Aurora
33 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER01, 2001-03-20 to 2001-03-26 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1001&revision=newest | Aurora
34 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER02,2001-09-07 to 2001-09-15 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1002&revision=newest | Aurora
35 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER03, 2002-02-18 to 2002-02-27 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1003&revision=newest | Aurora
36 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER04, 2002-04-24 to 2002-05-03 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1004&revision=newest | Aurora
37 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER05, 2002-09-03 to 2002-09-12 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1005&revision=newest | Aurora
38 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER06, 2003-02-25 to 2003-03-06 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1006&revision=newest | Aurora
39 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER07, 2003-05-14 to 2003-05-23 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1007&revision=newest | Aurora
40 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER08, 2003-10-08 to 2003-10-17 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1008&revision=newest | Aurora
41 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER09, 2004-02-24 to 2004-03-04 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1009&revision=newest | Aurora
42 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER10, 2004-05-06 to 2004-05-13 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1010&revision=newest | Aurora
43 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER11, 2004-09-08 to 2004-09-16 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1011&revision=newest | Aurora
44 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER12, 2005-01-20 to 2005-01-27 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1012&revision=newest | Aurora
45 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER13, 2005-04-23 to 2005-04-30 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1013&revision=newest | Aurora
46 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER14, 2005-10-07 to 2005-10-14 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1014&revision=newest | Aurora
47 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER15, 2006-02-02 to 2006-02-09 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1015&revision=newest | Aurora
48 | SBC LTER: CTD profiles from UNOLS cruises in the Santa Barbara Channel: LTER16, 2006-04-26 to 2006-05-03 | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=1016&revision=newest | Aurora
49 | SBC LTER: Cross-shelf Study 2008-2009: Profiles of CTD, biogeochemistry, primary production, abundance of phytoplankton groups, and abundance and production of bacteria | CTD profiles from cruises |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=45&revision=newest | Aurora
50 | SBC LTER: Ocean: Ocean Currents and Biogeochemistry: Nearshore water profiles (monthly CTD and chemistry) | CTD casts |  | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-sbc&identifier=10&revision=newest | Aurora
| http://cce.lternet.edu/data |  | multiple datasets, needs exploration | http://cce.lternet.edu/data |  | high
| BCO-DMO |  | multiple datasets, needs exploration | https://www.bco-dmo.org/ |  | high
| National Estuarine Research (NER) |  | multiple datasets, needs exploration | https://coast.noaa.gov/nerrs/
| USGS |  | multiple datasets, needs exploration | https://data.usgs.gov/datacatalog/#fq=dataType%3A(collection%20OR%20non-collection)&q=*%3A* | Alisha
| OMEGAS (NSF study) | pH, temperature | 8-10 intertidal sites in CA, OR | Data held by PIs and at BCO DMO |  | high | 2010-2013
| SCOOS: Scripps Pier Monitoring and related sites | Temp, salinity, O2 | San Diego, CA | http://www.sccoos.org/data/piers/ |  | high | 100+ years of T; more for other parameters
| SCCOOS |  | multiple datasets, needs exploration | https://neosccoos.ucsd.edu/data/overview/ |  | high
| NOAA PMEL CC E1 and CC E2 moorings | pCO2 | Offshore CA | Public: https://www.pmel.noaa.gov/co2/story/CCE+1 |  | high | continuous since 2010
| National Park Service West Coast Monitoring | pH, temperature, salinity | 7 Sites within NPS resources in CA | Available to PIs via a contract with NPS; some data also publicly available |  | high | In some cases, discrete bottle data from 2016; in 3 NPS sites, continuous SeaFET data.
| California TidalFET sites | pH, temperature | OA monitoring sites at 8 shoreline locations | Data held by PIs Sanford and Kroeker |  | high | Monitoring since 2010; additional sites in 2015 and 2017
| IOOS Pacific Region OA Monitoring | pCO2, pH, DIC, temp, salinity | 3 Burkolator or Mooring type monitoring stations in CA, | Public: http://www.ipacoa.org/Explorer |  | high | Variable start ranging from 2014-2017
| NERR /IOOS Sites | pH, temperature, salinity, O2 | 4 sites within estuaries maintained by National Estuarine Research Reserve | Public: http://www.ipacoa.org/Explorer | Alisha | high | Data from 2015 - current
| Sensors within estuaries, unvegetated areas from the seagrass project |  |  |  | Aurora

## Data Template
dataset_id | latitude | longitude | depth_m | time_utc | t_C | t_flag | sal_pss | sal_flag | pH_total | pH_flag | pH_type | pCO2_uatm | pCO2_flag | pCO2_type | fCO2_uatm | fCO2_flag | fCO2_type | tCO2_umolkg | tCO2_flag | tCO2_type | ta_umolkg | ta_flag | ta_type | do_umolkg | do_sat | do_flag | do_type | chl_ugL | chl_flag | chl_type | si_umolkg | nh4_umolkg | no3_umolkg | no2_umolkg | po3_umolkg | nutr_flag | nutr_type | hab | c_fCO2_uatm | c_pCO2_uatm | c_pH_total | c_CO2_umolkg | c_HCO3_umolkg | c_CO3_umolkg | c_tCO2_umolkg | c_TA_umolkg | c_omega_ar | c_omega_ca | c_revelle
27 | 34.4063 | -119.8437 | 0 | 2009-09-12T01:10:00Z | 17.65 | NA | 34.72 | NA | 7.65 | NA | YSI | NA | NA | NA | NA | NA | NA | 1980.09 | NA | bottle | 2245.47 | NA | bottle | NA | 124.0276 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2012-05-22T16:29:00Z | 16.7 | NA | 33.71 | NA | 7.86 | 3 | YSI | NA | NA | NA | NA | NA | NA | 2078.54 | NA | bottle | 2395.13 | 4 | bottle | NA | 116.7616 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2012-10-16T02:20:00Z | 19.81 | NA | 34.66 | NA | 7.98 | 3 | YSI | NA | NA | NA | NA | NA | NA | 2171.04 | NA | bottle | 2262.355 | NA | bottle | NA | 144.5519 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2013-05-21T00:32:00Z | 18.9 | NA | 33.38 | NA | 8.12 | NA | YSI | NA | NA | NA | NA | NA | NA | 1980.22 | NA | bottle | 2246.92 | NA | bottle | NA | 84.3742 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2013-09-29T19:50:00Z | 19.54 | NA | 34.58 | NA | 7.81 | NA | YSI | NA | NA | NA | NA | NA | NA | 2033.01 | NA | bottle | 2292.05 | NA | bottle | NA | 70.8807 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2014-05-14T16:47:00Z | 14.7 | NA | 33.4 | NA | 8.01 | NA | YSI | NA | NA | NA | NA | NA | NA | NA | NA | bottle | 2267.95 | NA | bottle | NA | 109.7417 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2010-07-14T15:34:00Z | 19.9 | NA | 33.24 | NA | 8 | NA | YSI | NA | NA | NA | NA | NA | NA | NA | NA | bottle | 2248.14 | NA | bottle | NA | 86.5499 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 34.4063 | -119.8437 | 0 | 2005-06-15T17:56:00Z | 15 | NA | 33.36 | NA | 8.08 | NA | YSI | NA | NA | NA | NA | NA | NA | NA | NA | bottle | 2337.48 | NA | bottle | NA | 115.6073 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 42.8248 | -124.5454 | 0 | 2009-06-10T19:30:00Z | 10.27 | NA | 34.11 | NA | 7.9 | NA | YSI | NA | NA | NA | NA | NA | NA | 2158.02 | NA | bottle | 2263.24 | NA | bottle | NA | 107.3944 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
27 | 42.8248 | -124.5454 | 0 | 2011-05-23T19:45:00Z | 9.5 | NA | 33.24 | NA | 7.76 | NA | YSI | NA | NA | NA | NA | NA | NA | 2187.5 | NA | bottle | 2241.39 | NA | bottle | NA | 87.5715 | 4 | YSI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## Units
Header name | Common Name | Units
dataset_id
latitude |  | decimal degrees
longitude |  | decimal degrees
depth_m | depth | meters
time_utc |  | YYYY-MM-DD hh:mm:ss
t_C | temperature | degrees Celcius
t_flag |  | QARTOD
sal_pss | salinity | practical salinity units (PSS78)
sal_flag |  | QARTOD
pH_total | pH | Total scale
pH_flag |  | QARTOD
pCO2_uatm | partial pressure of CO2 | uatm
pCO2_flag |  | QARTOD
fCO2_uatm | fugacity of CO2 | uatm
fCO2_flag |  | QARTOD
tCO2_umolkg | total CO2/DIC | umol/kg
tCO2_flag |  | QARTOD
ta_umolkg | total alkalinity | umol/kg
ta_flag |  | QARTOD
co3_umolkg | carbonate concentration | umol/kg
co3_flag |  | QARTOD
do_umolkg | dissolved oxygen concentration | umol/kg
do_sat | oxygen saturation | percent
do_flag |  | QARTOD
chl_ugL | chlorophyll a concentration | ug/L
chl_flag |  | QARTOD
si_umolkg | silica concentration | umol/kg
nh4_umolkg | ammonium concentration | umol/kg
no3_umolkg | nitrate concentration | umol/kg
no2_umolkg | nitrite concentration | umol/kg
po3_umolkg | phosphate concentration | umol/kg
nutrients_flag |  | QARTOD
hab
Calculated |  | Units
c_fCO2_uatm |  | uatm
c_pCO2_uatm |  | uatm
c_pH_total |  | total scale
c_CO2_umolkg |  | umol/kg
c_HCO3_umolkg |  | umol/kg
c_CO3_umolkg |  | umol/kg
c_tCO2_umolkg |  | umol/kg
c_TA_umolkg |  | umol/kg
c_omega_ar
c_omega_ca
c_revelle

## Data types
Parameter: | pCO2 | fCO2 | pH | DIC | TA | Oxygen | Chlorophyll | Nutrients
Column Name: | pCO2_type | fCO2_type | pH_type | tCO2_type | ta_type | o2_type | chl_type | nutr_type
| isfet_calc | isfet_calc | bottle | bottle | bottle | bottle | bottle | bottle
| SAMI |  | ISFET |  |  | ISFET | satellite | satellite
| Equilibration |  | YSI |  |  | YSI
|  |  | SAMI |  |  | MINIDOT
galvanic cell
| unknown |  | unknown | unknown | unknown | unknown | unknown | unknown
Helpful terms:
Equilibration: will be when they pump water, wait to equilibrate gases and then measure partial pressure
Galvanic cell: https://www.coleparmer.com/blog/2014/06/23/tech-tip-which-dissolved-oxygen-technology-is-right-for-me/
| isfet_calc | Provided by them but not measured directly but calculated from ISFET sensor and seacarb or CO2SYS software

## Flags
QARTOD Values | Meaning
1 | Pass - data have passed critical real time quality control tests. Data are suitable as preliminary data.
2 | Not evaluated - no QC tests applied or the info on quality is not available.
3 | Suspect OR of high interest - may have failed a non-critical QC test or is of high interest to operators.
4 | Fail - data have failed one or more critical QC tests.
5 | Value not reported*
6 | Mean value of replicates*
9 | Sample not taken
* | Non-standard QARTOD - specific to NOAA cruises.